## Slide 1
APD in regime Geiger/SiPM
new
Molte celle Geiger con amplificazione
105-106. Luce proporzionale alle celle
accese
luce
luce
1x1 mm2
fino a 1600 celle
si/no
1x1 mm
1600 celle
3x3 mm
14400 celle
6x6 mm
2x2 array
1 anno
di
progresso
4/2007
4/2008

## Slide 2
Rivelatori di Luce (oggi)
Alte
Amplificazioni
106-107
Bassi livelli
di luce
a
vuoto
Alte
Amplificazioni
105-106
Bassi livelli
di luce
APD
Geiger
1x1 mm
1600 celle
6x6 mm
2x2 array
Fotomoltiplicatori
a vuoto
e
fotodiodi
a stato solido
oggi
stessa amplificazione
Prestazioni costo
-OK Gain
-aumentare superficie
attiva

## Slide 3
Le due tecniche possono anche convergere
APD Geiger
SiPM
Geiger regions
out
corrente
luce
Amplificazione
corrente
luce
Fotomoltiplicatore
a vuoto
Fotomoltiplicatore
a stato solido
con SiPM
Sez.INFN-Na&Hamamatsu
Amplificazione
Per concentrare luce da
grandi superfici

## Slide 5
Electrostatically focused HPD
Proximity focused HPD
Vk fino a 15kV
Vbias=100V
G=q(Vk-Vp)/3.6 eV
Con diodo PIN G=3500 a 15kV
Guadagno piu’ stabile, meno fluttuazioni
1° applicazione di SI in Hybrid- Photomultiplier HPD
diodo p-i-n
DEP

## Slide 6
1° applicazione di SI in Hybrid- Photomultiplier HPD
diodo p-i-n

## Slide 7: 13 inch HAPD for T2K by Hamamatsu

## Slide 8: QUPID (Quartz Photon Intensifying Detector)
APD (0 V)
Quartz
Quartz
Quartz
Photo Cathode
(-10 kV)

## Slide 9: Simulation of Electron Trajectories

## Slide 10
APD: diodo in regime
avalanche, risposta
proporzionale G=50
Gain
HAPD-Hamamatsu
R7110U-07 (con APD)
Guadagno per bombardamento
elettronico su targhetta APD
G=q(Vk-Vp)/3.6 eV
≈ 8KeV/3.6 eV ≈ 2200
Range fotoelettroni IN APD: 4KeV 0.3 mm, 10KeV 1.5mm
G1
G2
X
Photon counting

## Slide 13: Towards a new generation of photodetectors: the VSiPMT (Vacuum Silicon PhotoMulTiplier)
GC Barbarino
Università degli studi di Napoli Federico II
INFN Napoli

## Slide 14
APD
(
)
SiPM
Evoluzione fotomoltiplicatori
2 sezioni:
Fotocatodo
+dinodi amplificatori
di elettroni
Fotocatodo +
amplificazione via
electron bombarding
Basso guadagno
Alte tensioni/isolamenti
Scarso successo
2 sezioni:
Fotocatodo
+Giunzione Geiger
amplificatrice di
elettroni

## Slide 15: The project: VSiPM
Vacuum Silicon PhotoMultiplier Tube (VSiPMT)
Photocathode
Focusing Ring
Focusing Grid
SiPM
A combination of a classical vacuum glass PMT standard envelope hosting a photocatode and a
Silicon PhotoMultiplier (SiPM) acting as an electron multiplying detector
(in the place of the dinodes chain).
SIPM is:
Compact
Cheap
Single photon capability
Linear
Low voltage operation
BUT
Small sensitive surface

## Slide 16
Vacuum Silicon PhotoMultiplier Tube (VSiPMT)
photons
photocathode
Extraction/acceleration
field
HV = 2-5 kV
SiPM
e-
Vbias=70-73 V
E
Field shape rings
An innovative design for a modern hybrid photodetector based on the combination of a Silicon PhotoMultiplier (SiPM) with a hemispherical PMT standard envelope
The classical dynode chain of a PMT is replaced with a SiPM, acting as an electron multiplying detector.

## Slide 17: VSiPMT Prototype
p+nnn+ configuration for photoelectrons, special non-windowed series for e optimization.
High voltage (-2/3 kV expected) to transport pe from the photocatode to geiger diode.
No divider: no power dissipation or complicated circuit to reduce the dissipation
Only a very simple amplifier (< 5mW).
Naples – HAMAMATSU Collaboration

## Slide 18: Hamamatsu Prototypes
32 mm
33 mm
7x7 mm2 entrance window
3 mm diameter GaAsp photocathode
2 protoypes:
SiPM 1 mm2 / 50 mm / 400 cells
SiPM 1 mm2 /100 mm / 100 cells
both p+nnn+ configuration

## Slide 19: Many advantage in VSiPMT solution
hybrid/APD
VSiPMT
Need of HV to obtain a high gain
High gain obtained with low voltage in the SiPM
Drawback of APD solution
- G=Ephe/Ee,h≈104-105
- too low Gain. HV gain
- G depending on HV
- Need a strong HV critical stabilization.
- Difficult and expensive insulation
Lot of advantage in the SiPM solution
- G > 106 : more of a factor 10.
- Low HV, only for photoelectron transfer
- Normal insulation
- No HV stabilization
- Low voltage Gain: easy to stabilize

## Slide 20: Amplification
Single-state amplifiers based on an OP-AMP in non inverting configuration.
3 different gain
Power consumption < 5mW
12 mV
40 ns
2 nphe

## Slide 21: Efficiency
Chart: VSiPMT (ZJ5025) Operating point
| 2000.0 | 2500.0 | 2700.0 | 3000.0 | 3100.0 | 3200.0 | 3400.0 | 3500.0 | 4000.0 | 4500.0
Efficienza riscalata | 0.09 | 0.16 | 0.18 | 0.19 | 0.22 | 0.23 | 0.23 | 0.23 | 0.23 | 0.23
Efficiency is highly stable over 3200 V.
No need for high voltage stabilization.
HV: photoelectron transfer NO power consumption (NULL current) unlike PMTs.
LV-based gain EASY STABILIZATION
Reducing the SiO2 coating layer it will be possible to reach the plateau region at even lower voltages.
Photocathode response
Photocathode characteristics
by HAMAMATSU
  (38 % q.e.)

## Slide 22: Waveforms
Excellent photon counting capability
5 mV/div
20 ns/div
Peak values istogram
Well separated waveforms
MEASUREMENT CONDITIONS:
VSiPMT illuminated by a pulsed laser light at low intensity (407nm)
Oscilloscope triggered in synch with the laser
Responses for multiple triggers are overlaid

## Slide 23
Entrance window 7x7 mm2
Photocathode homogeneity scan
3 mm
3 mm
XY scan
From 1mm2 SiPM to 7mm2 photocathode
Surface
Homogeneous efficiency
≈ 0.25 over a 7mm2 surface
Homogenity e > 95%
Entrance window 7x7 mm2
3 mm
3 mm

## Slide 24: Gain
Peak values hystogram
Area hystogram
Chart: VSiPMT (ZJ5025) Gain
| 72.1 | 72.4 | 72.5 | 72.6 | 72.7 | 72.8 | 72.9 | 73.0
 | 302666.6667 | 426666.6667 | 440000 | 491111.1111 | 533333.3333 | 533333.3333 | 582222.2222 | 632000
Ideal Working Point: 72.2V
G ≈ 6x106 (GAMP = 20);
Dark Count ≈ 60 kcps;
TTS < 0.5ns.
High gain (105÷106)
Linear trend
Total Gain = GVSiPMT x GAMP

## Slide 25
Photocathode fully illuminated with single photons
Optical Fiber
HV supply
Pulse laser
SiPM bias
AMP
VSiPMT
Ext.
Trigger
Oscilloscope
START
STOP
Transit Time Spread

## Slide 26: Transit Time Spread
DT
DT distribution
VSiPMT
TTS (σ) < 0.5 ns
VSiPMT
spe signal
VSiPMT much better than PMTs
Laser Trigger

## Slide 27: Further improvements of the next VSiPMT prototype
Today Hamamatsu solves the only one weak figure of VSiPMT: dark counts
Hamamatsu has developed a new MPPC (SiPM)
Dark counts: few Khz,
equivalent to a PMT
Moreover:
-Reduction of afterpulse rate (almost negligible < 0,3% ): much better than a PMT
-Wider operation voltage range

## Slide 28: SiPM internal afterpulses
In the new Geiger diode
version the intrinsec
afterpulses are negligible
Less than a classical
PMT < 0,3% !!
old
<10%
<0,3%

## Slide 29
pedestal
1 pe
2 pe
3 pe
4 pe
5 pe
6 pe
With APD electron
multiplication depends
on first ionization
fluctuations
pe
No fluctuation in geiger regime
Sum of digital pixel. Pe’s better
separated.

## Slide 30: Dark count rates
pedestal
1 pe
2 pe
3 pe
4 pe
5 pe
Excellent photon counting capability
@threshold 2.5 pe
New SiPM Generation: 80 Hz
Old: 800 Hz
@threshold 1.5 pe
New SiPM Generation: <1 kHz
Old: 10 kHz
@threshold 2.5 pe
New SiPM Generation: <10 kHz
Old: 100 kHz

## Slide 32: PMT vs VSIPMT
Features | PMT | VSiPMT | Comparison
Efficiency | QEphotocathodex ε1dynode(0.8) | QEphotocathodex FillFactor(twd 1) | ≈equivalent
Gain | 105 - 106 | 105 - 106 | ≈equivalent
Timing | ns | Fraction of ns (no dynode spread) | VSiPMT
Linearity | Depending on gain | Depending on #cells | ≈equivalent
Power Consumption | Divider Dissipation | VSiPMT: No dissipation Amp. (G=10-20): <5mW | VSiPMT
Power Supply Stability | HV Stabilization | LV easy stabilization | VSiPMT
Dark counts rate (new) | ≈ kHz @ 0.5pe | ≈ few kHz @0.5pe | ≈equivalent (today)
Photon Counting | Difficult | Excellent | VSiPMT
Afterpulse (new) | ≈10% @0.5pe | <0,3% @0.5pe | VSiPMT (today)
Peak-to-valley ratio | ≈3 | >60 | VSiPMT

## Slide 33: Conclusions and perspectives
The VSiPMT prototypes show excellent performances beyond expectations:
  UNRIVALLED photon counting capability
  Absence of divider (NO POWER CONSUMPTION)
  Low voltage high gain (EASY STABILIZATION)
  Very fast response (TTS < 0.5 ns )
Patent pending for VSiPMT by INFN (prof. G. Barbarino)
Our road map from now on:
  Construction of two new VSiPMT prototypes of 1” and 3” photocathode.
  1” and 3” VSiPMT cover all the requirements of next 10 years big astroparticle physics experiments
    dark matter, Air Cerenkov, km3 in Mediterranean sea.
Moreover, we believe that also particle physics and applied physics will benefit of such a device.
MOST of the VSiPMT features overcome PMT detection capabilities
Notes: Aggiungere l'incontro col giapponese

## Slide 34: Efficiency: VSiPMT vs PMT
e = e photocathode x e SiPM (50)
0,23 ≈ 0,38 x 0,61
e = e photocathode x e SiPM (100)
0,30 ≈ 0,38 x 0,78
e = e photocathode x e 1st dynode
0,30 ≈ 0,38 x 0,8
VSiPMT Efficiency
PMT Efficiency
VSiPMT efficiency improvable with fill factor
Fill factor