## Slide 1: KM3NeT timeline
CDR
Feb 2006
Mar 2008
Dec 2009
Mar 2012
2013
Design Study
Preparatory Phase
TDR
tendering
construction
data taking
governance
legal entity
pre-production models
site decision
funding
new partners

## Slide 2: How to distribute light sensors over many km3
Many optical sensors concentrated on ‘towers’
  horizontal extensions
  at large horizontal distances
Few optical sensors on ‘strings’
  Slender string structure
  At smaller horizontal distances
Key parameter: total photo-cathode area
Both concepts worked out in the Design Study
Nikhef
KVI
- ECAP (Erlangen)
- Demokritos (Greece)
INFN
IN2P3
CEA/Saclay

## Slide 3: The slender string
Same area photocathode
+
Calibration instrumentation
+
Electronics
in one sphere
Advantage:
Uniform angular acceptance
Photon counting
Good background rejection
Multi-PMT Optical Module

## Slide 4: Multi PMT Optical Module
Bit of effort to get all electronics in and keep power down and get heat out
Custom HV board (4.5 mW) with amplifier and discriminator ~20 mW

## Slide 5: Slender string
Small diameter ropes for mechanical strength
20 Multi-PMT optical modules
4 empty spheres for buoyancy
Small diameter, oil-filled e/o cable for (data)communication
10 Gb/s communication network
~900 m long
KM3NeT: 640 strings

## Slide 6: Test deployment December 2009 on board RV Pelagia

## Slide 7: Launcher on deck
anchor
String (~900 m) wound onto launcher (NIOZ)
Dense packing: 37 spheres

## Slide 8: Deployment
Anchor
Release 2 hook
Release 1
Buoyancy for release
16-12-2009
Pylos
850 m depth

## Slide 9: Recovery of LOM-frame
16-12-2009
Pylos
850 m depth

## Slide 10
Buoy
OM
OM
OM
OM
OM
10 kV / 400V
~8 km3
640 slender strings
12800 optical modules
200-250 MEuro
Branch cable network on the seabed
Junction box
Oil filled flexible vertical e/o cable

## Slide 11: Sensor architecture

## Slide 12: KM3NeT sensitivity
IceCube
observation time [years]
10-9
10-10
Galactic sources
10
8
6
4
2

## Slide 13: Alternatives
2.5 m
+ separate electronics container
6 m

## Slide 14: KM3NeT TDR
Point-to-point optical network accepted
Multi-PMT optical module needs further tests
Both DU-designs need further tests:
  deployment, stability after deployment
Decisions ultimately end 2011
Final prototyping in 2012
Construction starts in 2013

## Slide 15: At Nikhef for KM3NeT 2010
Improvement simulation/reconstruction software for string design; foot print of detector
Prototype optical 10 Gb/s point-to-point network
Development board for interface to network
Development of flexible oil-filled vertical e/o cable
Prototype of Multi-PMT optical module
Together with NIOZ: development of launcher for deployment
Design of assembly procedure + tooling + test setups for Multi-PMT optical module

## Slide 16: Assembly of Multi-PMT OM
A
A
B
B
storage
1.1
1.2
1.3
1.4
1.5
2.1
2.3
2.4
2.7
2.10
2.12
3.3
2.13
1. lower hemisphere
2. upper hemisphere
3. closing the sphere
1.6
add optical gel
1.7
2.2
glue
2.5
go / nogo test
go / nogo test
2.6
2.8
2.9
go / nogo test
add optical gel
2.11
3.1
3.2
3.4
3.5
3.6
Test station N flushing
Press. Validation e/o validation
Burn in
  Tooling for handling of glass spheres
  Test setups for PMTs
  Dark room/boxes
  (Cleanish) room for parallel assembly lines
  Storage room

## Slide 17: At Nikhef for KM3NeT 2011-2012
Prototype optical network
Prototype slender string
Development of assembly line + test setups for optical modules and detection units
Depending on KM3NeT decisions (external review):
Production preparation for slender string:
  multi-PMT optical module
  vertical e/o cable

## Slide 18: Nikhef for KM3NeT 2013 - 2017
Construction:
optical network electronics
assembly of optical modules and electronics
assembly of detection units

## Slide 20: Multi-PMT Optical Module

## Slide 21: KM3NeT PP
Nikhef+Saclay coordinate prototyping and design of assembly/integration lines
Specific coordination tasks Nikhef:
  Optical Module
  Design Assembly lines